Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: ENERGY SYSTEMS									      	       Time: 3 hours

Subject Code: 09EE205			       				               	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	Give the characteristics of solar energy.

2.	What is a stand-alone PV system?

3.	What are advantages of MHD?

4.	Draw the Diesel PV graph.

5.	Mention the use of Photometers.

6.	Give the different types of heating methods.

7.	Give the recent technologies available for welding.

8. 	What is meant by electric breaking?

9.  	List the advantages of Van de graff generator.

10. 	Mention the use of power frequency AC voltage.

PART – B  (5 x 3 = 15 MARKS)

11.	What is the basic principle of WECS?

12. 	List the five advantages of wind-PV systems.

13. 	Define the following terms related to resistance welding.

a.	Squeeze time.

b.	Weld time.

c.	Hold time.

14. 	Draw the typical speed time curve for train movement in electric traction.

15. 	Give a note on voltage multiplier circuits.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Briefly describe the general characteristics of solar cells.							(8)

b.	Draw and explain the operation of a stand-alone PV system.						(7)

(OR)

17.	a.	Describe the basic principle of wind energy conversion system.					(7)

b.	Describe the working of a horizontal axis and vertical axis wind turbines.   			(8)

18. 	a.	With a neat diagram, explain the operation of magneto hydro dynamic Power Generation.                                                                                                  		 																			(7)

b.	Explain in detail about the operation of Fuel cells.  		                                    		(8)

(OR)

19.	a.	Explain the different ranges and types of hybrid systems.                                      	 	(8)

b.	Briefly explain the principle of operation of diesel-PV and wind –PV systems.   		(7)

20. 	a.	Draw and explain with a neat diagram about polar curves of different types of sources. 																						(7)

b.	Explicate the operation and design of lighting schemes.                                 			(8)

(OR)

[P.T.O]

21. 	a.	Illustrate the operation of gaseous discharge construction and its applications.    		(8)

b.	Describe the construction and operation of a resistance welding.            				(7)

22. 	a.	Describe the working of a supply system for electric traction.                             		(7)

b.	Draw and explain the operation of speed time curves.                                     		(8)

(OR)

23. 	a.	Describe in detail about the operation of series control of a DC motor. 	            		(7)

b.	Write short notes on specific energy consumption.                                                		(8)

24. 	a.	Discuss in detail about van de Graff generator. List the advantages and disadvantages

(7)

b.	Explicate the generation of high alternating voltages using cascaded transformers with  	necessary diagrams.															(8)

(OR)

25. 	a.	Write short notes on high DC voltage measurement techniques.					(7)

b.	Explain the main use of a CRO for impulse voltage and current measurements. 		(8)