Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: BASIC ELECTRONICS AND INSTRUMENTATION		       Time: 3 hours

Subject Code: 09EI101							       		    		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The maximum efficiency of a full wave rectifier is _____________.

2.	Draw the circuit diagram of an NPN junction transistor.

3.	What are called universal gates?

4.	How many flip-flops are required to build a binary counter circuit to count from 0 to 1023?

5.	Give the classification of instruments.

6.	Define calibration.

7.	Mention two transducers used for measuring displacement.

8.	Name the different types of electrodes used in pH measurement.

9.	Enlist any two devices for measuring frequency.

10.	Seven segment displays is used for___________ display.

PART – B  (5 x 3 = 15 MARKS)

11.	Mention some applications of UJT.

12.	State De Morgan’s theorems.

13.	Classify the standards based on their hierarchy and mention the need of lower level standards.

14.	Enlist any three transducers for measuring flow.

15.	Give the disadvantages of CRT displays.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain how unidirectional current flow is possible through a PN junction diode.		(10)

b.	Derive the relationship for α and β.												(5)

(OR)

17.	a.	What is an SCR? Sketch its characteristics and describe its operation.				(10)

b.	Compare JFET with BJT.														(5)

18.	a.	Convert the following binary numbers to Gray codes.

i.	11001         	ii.	1110101 												(3)

b.	Find the binary equivalent to each decimal number.

i.	238.112 		ii.	36.002 		iii.	1647 	iv.	 48.442						(4)

c.	Draw the logic diagram and truth table of an Ex-OR gate and discuss its operation.	(8)

(OR)

19.	a.	Design a full adder circuit using NAND gates.									(7)

b.	What is a decade counter? Explain its operation using a clock signal waveform.		(8)

20.	Define the following terms:

a.	Resolution 	b.	Sensitivity 	c.	Linearity 			d.	Hysteresis

e.	Overshoot 	f.	Fidelity 		g.	Speed of response 	h.	Dead time

(OR)

21.	Discuss the errors that occur in a measurement system giving suitable examples.

[P.T.O]

22.	Classify the different types of transducers with an example.

(OR)

23.	Illustrate the working principle and construction of a thermocouple.

24.	Describe the constructional details and principle of operation of an A.C. galvanometer.

(OR)

25.	What is the need of a D/A converter? Elucidate the following D/A conversion techniques.			a.	Binary weighted resistor DAC.

b.	R-2R ladder type DAC.