Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: FIBER OPTICS AND LASER INSTRUMENTATION		       Time: 3 hours

Subject Code: 09EI203				       						              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define Numerical aperture.

2.	Give the classification of losses in optical fibers.

3.	Mention two special features of fiber optic sensors.

4.	Define Moire fringes.

5.	What are the laser light properties?

6.	Define internal quantum efficiency of a laser or LED.

7.	What are industrial lasers?

8.	What are the types of trimming?

9.	What is holography?

10.	List out the medical applications of laser.

PART – B (5 x 3 = 15 MARKS)

11.	What is the principle used in the working of fibers as light guides?

12.	What is the basic principle of interferometric sensors? What are their uses?

13.	What is cavity dumping?

14.	What are the applications of LIDAR?

15.	Mention the uses of holographic interferometry.

PART – C (5 x 15 = 75 MARKS)

16.	Describe about the different types of fibers and their properties, characteristics with neat diagrams.

(OR)

17.	With neat diagrams explain the construction and working of LED and  PIN.

18.	Illustrate and explain about the Fiber Optic Instrumentation system.

(OR)

19.	Illustrate and explain the working principle of measurement of pressure and strain.		(7+8)

20.	Discuss on the characteristics of Lasers. With the help of diagrams explain the principle of three level and four level Lasers.

(OR)

21.	a.	Describe the Q switching.														(7)

b.	Explain the operation of a liquid laser.											(8)

22.	Describe the methods for the measurement of velocity and voltage using Laser.

(OR)

23.	Give details about:

a.	Trimming of materials by Laser.												(7)

b.	Material removal and vaporization by Laser.										(8)

[P.T.O]

24.	Describe the working principle of a holographic interferometer and explain its applications with a neat diagram.

(OR)

25.	Explain the medical applications of Laser in gynecology and oncology.