Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: NETWORKS AND PROTOCOLS FOR INSTRUMENTATION AND 				  CONTROL												       Time: 3 hours

Subject Code: 09EI226		       						              	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	__________, ___________, and ____________ are the elements of the protocol.

2.	__________ is responsible for source to destination delivery of a packet.

3.	__________ is the largest professional engineering society in the world.

4.	Advantage of serial over parallel transmission is ____________.

5.	__________ and ________ are the two responsibilities of the presentation layer.

6.	_________ is a popular character oriented data link protocol developed by IBM in 1964.

7.	Foundation Fieldbus consists of ______ layers.

8.	The MODBUS protocol implements a __________ architecture.

9.	In ______ topology, there is a dedicated point-to-point link to every other device.

10.	_________ provides a simple physical connection between the attached devices.

PART – B (5 x 3 = 15 MARKS)

11.	What is the function of the data link layer?

12.	Give the types of synchronous data link protocols.

13.	What is the access mechanism used in an Ethernet? Explain.

14.	What does the Fieldbus tester indicate?

15.	Mention some problems of RS-232.

PART – C (5 x 15 = 75 MARKS)

16.	With a neat diagram, explain briefly about the OSI model.

(OR)

17.	Explain briefly about:

a.	Communication modes.				b.	UART.							(7+8)

18.	Write a note on current loop and serial interface converters.

(OR)

19.	Write in detail about the standards organization.

20.	Describe briefly about HDLC.

(OR)

21.	With a neat diagram explain flow control protocols:

a.	Stop and wait ARQ.					b.	Sliding window.					(7+8)

22.	Discuss in detail about MODBUS and its troubleshooting.

(OR)

23.	Describe in detail about HART protocol	.

24.	Explain in detail about circuit switching and packet switching.

(OR)

25.	Explain in detail about the MAC.