Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: POWER PLANT ENGINEERING						       	       Time: 3 hours

Subject Code: 09ME237				       				              	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is the combined power cycle?

2.	What do you mean by a binary vapour cycle?

3.	Define bleeding in a steam power plant.

4.	What is the function of an economizer?

5.	What are the advantages of nuclear reactors?

6.	Define open and closed cycle plants.

7.	Give a note on the diesel engine power plant.

8.	Define draft tube.

9.	Define load factor.

10.	What is High tide and Low tide?

PART – B (5 x 3 = 15 MARKS)

11.	What is a combined cycle plant? Explain.

12.	Name the four major circuits in the steam power plant.

13.	What are the required properties of nuclear reactor material?

14.	List the applications of diesel engine power plants.

15.	Write the compression ratio for the diesel engine.

PART – C (5 x 15 = 75 MARKS)

16.	Explain the modified Rankine cycle with a neat sketch.

(OR)

17.	Explain the Binary vapour cycle with a neat sketch.

18.	Discuss the construction and working of Steam power plant with a layout.

(OR)

19.	What are types of cooling towers? Explain each with a neat sketch.

20. 	a.	What are the advantages and disadvantages of breeder reactor?					(3x5)

b.	What do you mean by fission of nuclear fuel?

c.	Explain briefly about radiation hazards and shielding.

(OR)

21. 	Explain the working principle of combined gas turbine and steam turbine power plants.

22. 	Describe the construction and working of a diesel engine power plant.

(OR)

23. 	Explain the construction and working of a hydroelectric power plant.

24. 	Explain the working principle of unconventional power plants.

(OR)

25. 	Discuss in detail the working principle of solar power plants and tidal power plants.