Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: REFRIGERATION AND AIR CONDITIONING			       Time: 3 hours

Subject Code: 09ME238						       		        	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	Define Refrigeration.

2. 	Mention the significance of P-H charts.

3. 	Mention any two properties of refrigerants.

4. 	What is the meaning of the term cryogenic?

5. 	Define By pass factor.

6. 	Write any two requirements of comfort air conditioning.

7. 	Briefly explain the terms sensible heat and latent heat.

8. 	What is the main difference between refrigeration and air conditioning?

9. 	In what way does the central air conditioning system differ from a room air conditioner?

10. 	What are the main factors affecting thermal conductivity?

PART – B  (5 x 3 = 15 MARKS)

11. 	Explain briefly about the Bootstrap air refrigeration cycle.

12. 	Mention the significance of cryogenic in medicine and biological uses.

13. 	Explain the meaning of bypass factor in detail.

14. 	In what way does effective temperature play a vital role in air conditioning?

15. 	What are the basic principles of humidifiers and dehumidifiers?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the following terms:

a.	State postulate		b.	Constant volume process		c.	Constant pressure process

d.	Polytrophic process 	e.	Isothermal process.

(OR)

17.	Draw a neat sketch and explain the Carnot vapor- compression cycle.

18.	Write an essay about testing and charging of refrigeration units.

(OR).

19.	Explain the applications of refrigeration given below:

a.	Ice plant 	b.	Food storage plant 	c.	Chilling plant.

20.	For a moist air at 303K obtain the relative humidity and degree of saturation. If dew is given to be 288 K and the total pressure is 1 bar, conclude the results.

(OR)

21.	Draw a neat sketch of an adiabatic saturator and explain the process with a graph.

22.	a.	Explain the term heat transfer through structure with sketch.						(5)

[P.T.O]

b.	Calculate the overall heat transfer coefficient for a double pipe mild steel having inner and 	outer diameter 20 and 25mm, respectively. The refrigerant vapour condenses outside the 	inner tube for which ha is 4000KJ/m2-h-K. Water flows through the pipe at a rate of 	0.4 	Kg/s with an average temperature 313 K. The temperature rise of water is 3 K. The 	condensing temperature is 320 K. Fouling factors are 0.003 and 0.0001 m2-h-K/KJ for the 	inner and outer surfaces, respectively. Also calculate the heat transfer rate per unit area.																					(10)

(OR)

23.	a.	Explain the term solar radiation.												(5)

b.	Write an essay regarding air conditioning cooling loads and apparatus selection.		(10)

24.	a.	Define: Central air conditioning system and mention its significance with a sketch.	(5)

b.	Write an essay about thermal insulation of an air conditioning system.                  	(10)

(OR)

25.	Explain the following:

a.	Air filter 		b. 	Humidifiers 			c. 	Dehumidifiers		d. 	Air washers 		e. 	Cooling towers.