Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INTELLIGENT BUILDINGS							       	       Time: 3 hours

Subject Code: 10CE202			       				               	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	What is an intelligent building?

2.	What is a smart material?

3.	Classify air conditioning.

4.	What are lighting systems?

5.	What is a sprinkler?

6.	What is a fire alarm?

7.	What is a central alarm?

8.	What is a closed circuit television system?

9.	What is PLC?

10.	What is demand control ventilation?

PART – B (5 x 3 = 15 MARKS)

11.	Write a brief note on smart materials.

12. 	What are magnetorheological fluids?

13.	What is a green building?

14.	What is a space sensor?

15. 	Give a short note on the fiber optic system.

PART – C (5 x 15 = 75 MARKS)

16. 	Explain in detail about the cost analysis of intelligent buildings.

(OR)

17. 	Write a detailed note on smart materials.

18.	List the advantages and disadvantages of energy efficient buildings.

(OR)

19. 	Give an over view of LEED rating in green buildings.

20. 	Explain the working of the Automatic fire alarm detection system.

(OR)

21. 	Write a detailed note on Foam systems.

22. 	Write short notes on 		a.	health monitoring systems. 	b.	central alarm systems.

(OR)

23. 	a.	State the need for security systems.												(3)

b.	‘Video surveillance technology is used to provide security’ – How?				(12)

24. 	 Explain in detail about the Fiber optic system.

(OR)

25. 	 Write short notes on:

a.	Satellite communication.				b.	Telephone systems.					(7+8)