Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: SENSORS AND TRANSDUCERS					            	       Time: 3 hours

Subject Code: 10EI203								   		    	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	List any one desirable characteristic in measurement systems.

2. 	What is standard deviation of mean?

3. 	Give an example for an inverse transducer.

4. 	Why a generator cannot be considered as a transducer?

5. 	What is negative temperature coefficient? Give an example.

6. 	What do you mean by electrical zero position in a synchro transmitter?

7. 	What is the order of minimum displacement that can be measured with capacitive transducers?

8. 	Differentiate piezoelectric effect and piezo resistive effect.

9. 	Name any two types of microphones.

10.	Define pH value.

PART – B  (5 x 3 = 15 MARKS)

11. 	Differentiate the terms scale range and scale span giving suitable examples.

12. 	Derive the equation for time response of a first order system when subjected to a unit step input. And also draw its response curve.

13. 	Describe the method of measurement of temperature with a thermocouple with a neat sketch.

14. 	Write short notes on Hall Effect transducers.

15. 	Explain about the thermal conductivity gas analyzer circuit.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	What are the basic blocks of a generalized instrumentation system? Draw the various 	blocks and explain their functions. 												(10)

b.	Distinguish between intelligent instrumentation and dumb instrumentation systems. Cite 	examples to support your answer. 												(5)

(OR)

17. 	Write short notes on various static characteristics of instruments.

18.  Describe with neat sketches the various types of pressure sensitive primary detecting elements.

(OR)

19. 	Explain about the factors which influence the choice of transducers.

20. 	Explain the construction and principle of working of an LVDT. List out its advantages and disadvantages.

(OR)

21. 	Explain the construction of wire wound strain gauges and derive the expression for the gauge factor.

[P.T.O]

22. 	Explain the different principles of capacitive transducers in measurement of linear displacement with a neat sketch.

(OR)

23. 	a.	Describe the properties of piezo – electric crystals. Derive expressions for voltage and 	charge sensitivities.	 														(10)

b.	Describe the different modes of operation of piezo-electric transducers. 				(5)

24. 	Describe how fiber optic sensors are used for:

a.	Measurement of temperature.

b.	Measurement of sound level.

c.	Measurement of liquid level.

(OR)

25. 	a.	Discuss about the classification of digital displacement transducers.				(9)

b.	Write short notes on pH measurement.											(6)