Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: BIOMEDICAL INSTRUMENTATION					      	       Time: 3 hours

Subject Code: 10EI211								        		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	Write three major components present in the cell?

2. 	What are the phases of the electrical activity of a cell?

3. 	Give any two methods of blood flow measurement?

4. 	Specify the time interval of PQ and QRS durations.

5. 	What is fibrillation?

6. 	List any two applications of Diathermy.

7. 	What is the basic principle of a colorimeter?

8. 	What type of electrode is used for blood PO2 measurement?

9. 	What is the frequency range of the ultrasonic wave, used in the Ultrasound scanner?

10. 	What is Angiography?

PART – B  (5 x 3 = 15 MARKS)

11. 	Draw a typical ECG waveform with its exact time intervals.

12. 	Draw the block diagram of a typical blood flow meter.

13. 	Classify the Defibrillators in detail.

14. 	Give the instrumentation of a spectrophotometer.

15. 	What are the advantages of CT scan?

PART – C  (5 x 15 = 75 MARKS)

16. 	Explain the physiology of a cardiovascular system.

(OR)

17. 	Discuss the anatomy of a single nerve cell.

18. 	What is the concept of a Plethysmograph?  Explain in detail.

(OR)

19. 	How are the lung volumes and capacities measured? Explain.

20. 	Discuss about a modern DC Fibrillator with its block diagram.

(OR)

21. 	What is short wave diathermy and what are the components involved in it?

22. 	What is the role of a photometer and a colorimeter in biomedical systems?  Explain any one type of photometer.

(OR)

23. 	What are the requirements for the design of Oxygenators?

24. 	What are the specification requirements of a biotelemetry system?

(OR)

25. 	Explain the working of a CT scanner in the medical instrumentation field.