# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: ADVANCED CONTROL SYSTEMS						 Time: 3 hours

# Subject Code: 10EI303							               		 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Derive the State space representation of nth order systems of linear differential equation in which the forcing function involves derivative terms.

2.	a. 	Explain in detail about state space method. 			              					(10)

b. 	Illustrate Taylor series and Euler’s method.				  					(10)

(OR)

3.	a. 	With an example, explain about Runge Kutta method.			  				(10)

b. 	Write a note on the principle of Linearization of Differential Equations.   		(10)

4.	a. 	Explain Kalman’s test for observability and Gilbert’s test for observability. 		(10)

b. 	Obtain the solution of homogenous state equation given below:  				(10)

X.=AX where A= 1−21−4 and X (0) =0.51.

(OR)

5.	a. 	Define an observer and evaluate the state observer gain matrix.	  			(10)

b. 	Explain in detail how the stability of state is improved by state feedback. 		(10)

6.	a. 	Construct the Lyapunov’s functions for a non-linear system by Krasovskii’s method. 									  												(10)

b. 	Write short notes on describing function analysis. 			  				(10)

(OR)

7.	a.  Determine the stability of the system described by the following equation:

X. =AX; A= −11−2−4							  						(10)

b. 	A second order system is represented by:

X. =AX where A=01−1−1

Assume matrix Q to be an identity matrix. Solve for matrix P in the equation:

AT P+P A=-Q . Use Lyapunov theorem and determine the stability of the origin of the system. Write the Lyapunov function V(x).						  			(10)

8.	Explain two degrees of freedom control where a system is subjected to the disturbance input D(S) and the noise input N(S), in addition to reference input R(S).

(OR)

9.	Illustrate the timing rules for PID controllers.