Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION AND CONTROL SYSTEMS		      	       Time: 3 hours

Subject Code: 10ME202						       		        	  	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is an error?

2.	Define Calibration.

3.	Define Sensor.

4.	Give the applications of a Thermocouple.

5.	List any three types of pressure gauges.

6.	What is a diaphragm?

7.	List the classifications of strain gauge.

8.	How is air pollution measured?

9.	Define System.

10.	Write Mason’s gain formula.

PART – B  (5 x 3 = 15 MARKS)

11.	Give a short note on types of input quantities.

12.	Define Transducer. List the types of Transducers.

13.	List the classifications of flow meters.

14.	Differentiate between humidity and moisture.

15.	Define Mathematical modeling.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	With a neat sketch explain the functional elements of a measurement system.	     (10)

b.	What is a measurement standard? Explain the classifications of measurement standards. 												       										(5)

(OR)

17.	a.	Explain the types of errors and how to eliminate them.				     			(10)

b.	Differentiate Analog and Digital Measurements.					       				(5)

18.	a.	What is a Primary Transducer? Explain any one type of primary transducer.		       (8)

b.	Describe the Linear Variable Differential Transformer with a neat sketch.   			(7)

(OR)

19.	a.	With a neat sketch explain the construction and working principle of a Thermocouple.

(8)

b.	Explain Optical pyrometer with a neat sketch.					       				(7)

20.	a.	Discuss about the C – Type bourdon gauge with a neat sketch.			       			(8)

b.	With a neat sketch explain the working of a variable area flow meter.                     	(7)

(OR)

21.	With a neat sketch explain the construction details and working principle of a Mcleod gauge.

22.  Explain Bonded and Unbonded strain gauge with a neat sketch.

(OR)

[P.T.O]

23.	a.	Discuss about a pH meter with a neat sketch.							       			(8)

b.	Explain Hair Hygrometer with neat sketch.						       				(7)

24.	Obtain the closed loop transfer function C(S)/R(S) of the system whose block diagram is shown.

(OR)

25.	Construct the Routh array and determine the stability of the system represented by the characteristic equation s5+s4+2s3+2s2+3s+5=0. Comment on the location of the roots of the characteristic equation.