Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: VACUUM AND THIN FILM TECHNOLOGY			      	       Time: 3 hours

Subject Code: 10PH205					       				              	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is mean free path?

2. 	What is saturation pressure?

3. 	What is the base pressure required for a diffusion pump to work?

4. 	Define exhaust pressure.

5. 	What is the maximum pressure which can be measured using Bourdon gauge?

6. 	Give the principle of working of a thermal conductivity gauge.

7. 	What is adsorption?

8. 	What is gas phase ratio?

9. 	Define plasma state of matter.

10. 	How is potentiostatic method different from galvanostatic method?

PART – B  (5 x 3 = 15 MARKS)

11. 	What is thermal transpiration?

12. 	What is the principle of working of cryogenic pumps?

13. 	Give the significance of gauge calibration.

14. 	What is vapour flux monitoring?

15. 	What is molecular beam epitaxy?

PART – C  (5 x 15 = 75 MARKS)

16. 	Discuss in detail about velocity distribution and energy distribution of gas molecules.

(OR)

17. 	Give an account on the transport phenomena which gives rise to viscosity, thermal conductivity 	and diffusion.

18. 	a.	Discuss in detail the general characteristics of a vacuum pump.					(8)

b.	Give the principle, construction and working of a diffusion pump.					(7)

(OR)

19. 	Explain the construction of a turbomolecular pump, pumping mechanism and pump design.

20. 	Describe the method of measurement of pressure using:

a.	diaphragm gauge 			b.	bourdon gauge 		c.	capacitance manometer.

(OR)

21. 	What is an ionization gauge? Explain the working of cold cathode ionization gauge and hot  
    	cathode ionization gauge. Give their merits and demerits.

22. 	a.	Discuss the thermodynamics of evaporation in a thermal evaporation system.		(8)

b.	Write a note on nucleation and structure development in thin film growth process.	(7)

(OR)

23. 	a.	Give an account on laminar flow in ducts.                                                                  	(8)

b.	Discuss about diffusion limited deposition.            				              			(7)

[P.T.O]

24. 	What is sputtering? Give the theory of physical sputtering and explain how thin film deposition 	is carried out using a sputtering system.

(OR)

25. 	Describe how thin film deposition is carried out using:

a.	sol-gel method 		b.	spray pyrolysis method.