Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: POWER PLANT INSTRUMENTATION					       Time: 3 hours

Subject Code: 11EI203			       						              	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is penstock?

2.	Give any two objectives of Instrumentation and control in power plants.

3.	Name the instruments used for the measurements of very high voltage and large current.

4.	State the need for smoke density measurement.

5.	What is the significance of Oxygen measurement in flue gas?

6.	What is demineralization?

7.	Name the four different drafts in connection with the operation of a boiler.

8.	What do you mean by injection water with respect to a superheater?

9.	State the need for a lubrication system in a turbo generator.

10.	Define the term eccentricity.

PART – B  (5 x 3 = 15 MARKS)

11.	What is a cogeneration plant?

12.	What is shrinkage and swelling in a boiler drum?

13.	Draw the sketch of a Kathrometer and mention the four major parts of it.

14.	Enlist the safety interlocks in a boiler operation.

15.	Name the principal parts of a steam turbine.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw the layout of a steam power plant and explain the operation of each block in it.

(OR)

17.	Discuss in detail about non conventional energy sources.

18.	a.	With a neat sketch explain the feed water measurement using differential pressure 	transmitter.(7)

b.	Explain two wattmeter method for measuring power in power plants.					(8)

(OR)

19.	a. 	Explain a method to detect the presence of fly ash in the main fuel.						(7)

b. 	Describe the steam temperature measurement with suitable P and I diagram.				(8)

20.	Explain how the amount of impurities present in water and steam are measured in a power 	plant.

(OR)

21.	a. 	Discuss about the pollution monitoring instruments used in power plants.					(8)

b. 	Explain the chromatography technique to analyze the components present in fuel.			(7)

22.	Draw the Piping and Instrumentation diagram of three element control of boiler drum level. Explain the control scheme.

(OR)

23.	Construct an automation structure for power plant using distributed control system and explain.

24.	Describe the control schemes employed in lubrication systems.

(OR)

25.	Discuss the role of speed and vibration measurements in the safety control system of a turbine.