# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: MATERIAL CHARACTERIZATION					         Time: 3 hours

# Subject Code: 11PH321							              		  	  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

- What is thermo gravimetric analysis? Explain how the weight loss and decomposition

products are determined by using thermo gravimetric analysis.					(10)

- What is chromatography? Give an account on Gas Chromatography.			(10)

2. 	a.	Explain the working of bright field and dark field optical microscopy.                  (10)

b.	Explain how surface topography is studied using AFM.                                         (10)

(OR)

3. 	a.	Discuss how the crystal structure is studied using powder diffraction method.      (10)

b.	Discuss in detail electron back scattered diffraction method for morphological

studies.                                                                                                                     (10)

4. 	a.	Discuss the principle and instrumentation of FTIR spectrometer.                          (10)

b.	Describe how chemical analysis can be done using NMR.                                     (10)

(OR)

5. 	a.	Explain the construction and working of X-ray emission spectroscopy.                (10)

b.	Explain how Rutherford back scattering is helpful in determination of chemical 	composition                                                                                                 		(10)

6. 	a.	Describe the working principle and instrumentation of SEM.                                (10)

b.	Discuss the sample preparation, data collection, process and analysis involved in TEM.

(10)

(OR)

7. 	a.	Describe the working principle and instrumentation of PL spectrometer.              (10)

b.	Describe the principle and working of electro luminescence spectrophotometer.  (10)

8. 	a.	Explain how electrical resistance measurements are carried out using two probe and four 	probe methods.                                                                           					(10)

b.	Give an account of Current-Voltage characterisation.                                             (10)

(OR)

9. 	a.	What is Vickers hardness number? Explain how Vickers hardness is measured using 	Vickers hardness test.                                                                                     		(10)

b.	Describe the construction and working of Vibrating sample magnetometer.          (10)