# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: 	RENEWABLE ENERGY SOURCES						Time : 3 hours

# Subject Code: 	11PH322					               			 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory :

a.	Explain in detail the solar flat plate collector with a neat sketch.					(7)

- Explain any one type of concentrating collector with a neat diagram.				(7)

- List the advantages and disadvantages of Concentrating collector over Flat Plate 	collector.																	(6)

2.	a.	Explain how the energy requirements are met from commercial sources.		      (15)	b.	List the advantages of Renewable energy sources.								(5)

(OR)

3.	a.	Explain how the energy requirements are met from Non - commercial energy sources.

(15)

b.	List the Limitations of Renewable energy sources.								(5)

4.	a.	Explain the Basic components of a wind energy conversion system with a neat diagram.

(15)

b.	List the advantages and disadvantages of Wind energy conversion system.			(5)

(OR)

5.	a.	Explain the following applications of wind energy:

i.	 Pumping   	ii.	Direct Heat    iii.	Electric Generation					     (15)

b.	Explain the solar wind system with storage battery.								(5)

6.	a.	Explain the following bio-mass conversion technologies:

i.	Wet Process             ii.	Dry Process									     (10)

b.	i.	List the advantages of Anaerobic Digestion.								     (10)		ii.	List the factors affecting Bio-Digestion.

(OR)

7.	a.	Explain the following Bio-Gas Plants:

i.	Continuous Plant  	ii.	Batch Plant									     (10)

b.	List the advantages and disadvantages of the following:

i.	Floating Drum plant  	ii.	Fixed Dome Type Plant						     (10)

8.	a.	Explain the Open Cycle  Ocean Thermal Electric Conversions system.             	     (10)

b.	Describe the Closed Cycle Ocean Thermal Electric Conversion system.			     (10)

(OR)

9.	a.	Explain the components of Tidal Power Plants.								     (10)

b.	Discuss the following operation methods of utilization of Tidal energy:

i.	Single Basin arrangement  	ii.	Double Basin Arrangement			     (10)