Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INTELLIGENT BUILDINGS							      	       Time: 3 hours

Subject Code: 12CE257			       				               	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	Define smart material.

2.	Define intelligent building.

3.	Define conductor in electric current.

4.	Mention the physical properties of light.

5.	Relate fire wall to fire resistance.

6.	Define heat detector.

7.	What is hazard mitigation?

8.	What is building information modeling?

9.	List the tasks performed by a local operating network.

10.	What are the components of satellite transmission communication?

PART – B  (5 x 3 = 15 MARKS)

11.	Discuss the fundamentals for the development of intelligent buildings.

12. 	Specify the function of lighting of a building.

13.	Compare smoke alarm and smoke detector.

14.	Mention the assessment type for deciding the security and safety design.

15. 	List the components of building energy management and control system.

PART – C  (5 x 15 = 75 MARKS)

16.	How does a building automation system work? Explain.

(OR)

17. 	a.	Discuss the different smart materials in detail.									(10)

b.	Write a short note on intelligent structures.										(5)

18.	a.	Elaborate the factors affecting the visual performance.							(10)

b.	What are the color qualities of light?											(5)

(OR)

19. 	Brief about the types of air conditioning systems in a building.

20. 	a.	List the types of smoke alarms and explain about them in detail.					(8)

b.	Mention the general class of residential fire extinguishers.							(7)

(OR)

21. 	Explain the working principle of sprinklers and list the types of sprinklers.

22. 	Identify the fundamental principles of an all-hazard building design in detail.

(OR)

23. 	Describe the components of an alarm and its functions.

24. 	Define PLC and elaborate on it.

(OR)

25. 	Write a short note on Fiber optic systems.