# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: ANALYTICAL CHEMISTRY – I        						  Time: 3 hours

# Subject Code: 12CH313				       	        				 	  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Derive and explain the Bragg’s equation.									(10)

b.	Explain the rotating crystal and power methods of X-ray analysis.				(10)

2.	a.	Explain the systematic and random errors with examples.						(10)

b.	Discuss the principle and applications of high performance liquid chromatography.

(10)

(OR)

3.	a.	Write a note on significant figures, standard deviation and correlation co-efficient.

(10)

b.	Explain the principle, instrumentation and applications of gas chromatography.	(10)

4.	a.	Discuss the factors influencing vibration frequencies.							(10)

b.	Explain the instrumentation and sampling techniques of vibrational spectroscopy.(10)

(OR)

5.	a.	Write a note on fundamental vibrations, overtones and the selection rules.		(15)

b.	What is fingerprint region? How it is helpful for IR analysis.					(5)

6.	a.	Explain the electronic spectra of diatomic molecules.							(10)

b.	Discuss the instrumentation and laws of absorption of UV – Visible spectroscopy.

(10)

(OR)

7.	a.	Discuss the solvent effect in UV – Visible spectrocscopy.						(10)

b.	Describe the Woodward Fisher rule for the calculation of absorption maxima in , -

unsaturated carbonyl compounds. Give suitable examples.						(10)

8.	a.	Discuss the various photophysical processes using Jablonski diagram.			(10)

b.	Discuss the application of CD in biomolecules.								(10)

(OR)

9.	a.	Discuss the basic principles of ORD and CD.								(5)

b.	Write a short note on Quantum yield.										(5)

c.	Discuss the octant rule and axial haloketone rule.								(10)