# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: VLSI CIRCUITS FOR BIO-MEDICAL APPLICATIONS	 Time: 3 hours

# Subject Code: 12EC338							                 		  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Describe the design strategies used for neuro mimetic ICs.

b.	Which are the neuron models proposed for different computation levels of SNNS? 			Explain

2.	a.	Explain the implementation level diagram of a ∆-∑ modulator.

b.	Discuss about the bit synchronizer and reverse link of body implantable unit.

(OR)

3.	a.	Describe the telemetry system architecture and VLSI design.

b.	Explain the neuromorphic encoder and interference circuit used for neuropotential 			sensing.

4.	a.	Explain about micropower low noise bioamplifier and BPSK demodulation.

b.	Give notes on:

i.	floating gate injector and its mathematical model.

ii.	power recovery and voltage regulation in an inductive link.

(OR)

5.	a.	Explain briefly about design and calibration of a floating gate sensor array.

b.	Write a note on real time data reduction and compression.

6.	a.	With an example explain how system budget is calculated.

b.	Describe the power dissipation model of the RF link with error correcting codes.

(OR)

7.	Write briefly about LNAs, PLL and encoder implementation for ECC.

8.	a.	Explain the design requirements and circuit architecture of neural signal amplifiers.

b.	Discuss the stimulus generator architecture.

(OR)

9.	a.	Explain about neurochemical sensing probes and interface circuitry.

b.	Write a note on neural stimulation.