Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: BUILDING AUTOMATION	       							       Time: 3 hours

Subject Code: 12EE253			       						              	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Differentiate analog and digital signals.

2.	Define a sensor.

3.	Define Power quality.

4.	Name the different types of energy meters.

5.	What is a fire alarm system?

6.	How are cables classified?

7.	Name one case where video management helped investigations.

8.	Name two biometric sensors.

9.	What is an integrated building automation system?

10.	List the challenges in integrated systems.

PART – B (5 x 3 = 15 MARKS)

11.	List the features and drawbacks of a building automation system.

12.	Describe instantaneous power, active power, reactive power and power factor.

13.	Briefly write about the best installation practices for safety systems.

14.	Write a note on TCP/IP networking.

15.	Briefly describe about future prospects of integrated systems.

PART – C (5 x 15 = 75 MARKS)

16.	What is an intelligent building? Explain how various parameters are measured and utilized for building automation.

(OR)

17.	a.	Discuss the uses of valves and actuators and their selection.						(7)

b.	Describe in detail about earthing. Discuss the selection of cable for various applications.

(8)

18.	Explain the effect of power quality on energy consumption. Enumerate the merits and demerits. Brief on the importance of energy saving.

(OR)

19.	Describe in detail about energy meter types, meter networking and monitoring energy parameters.

20.	a.	Explain in detail about fire extinguishing principles and its classification.			(7)

b.	Describe the fire alarm and pre-alarm system.									(8)

(OR)

21.	a.	Write a brief note on fire sensors and detectors.									(7)

b.	Explain the process of cable selection, installation guidelines and best installation	(8) 	practices.

[P.T.O]

22.	Explain the concept of video management. Elaborate on CCTV basics, digital video recording and its special features.

(OR)

23.	Write a short note on:

a.	Video door phone.															(7)

b.	Card Technologies.															(8)

24.	Discuss in detail about:

a.	Energy management system. 													(7)

b.	Benefits of integrated systems.													(8)

(OR)

25.	Discuss in detail about:

a.	Video management. 															(7)

b.	Safety system.																(8)