# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: ENERGY MANAGEMENT AND AUDIT					 Time: 3 hours

# Subject Code: 12EE320					                 			 	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Discuss briefly on the following:

a.	BEE’s Standards for Equipment and Appliances.								(10)

b.	Distinction between energy conservation and energy efficiency.				(10)

2.	Describe the various Energy Audit instruments used for field study.

(OR)

3.	Explain the duties and responsibilities of an Energy Auditor.

4.	What is force field analysis? What are the steps involved in construction of force field analysis?

(OR)

5.	Describe in brief about the need of management commitment and support to implement best energy practices.

6.	What is meant by monitoring and targeting in energy management? Explain the key elements of it.

(OR)

7.	Describe in detail about the energy management information system.

8.	Explain the energy conservation opportunities in:

a.	Fans. 																	(10)

b.	Agriculture pump sets.													(10)

(OR)

9.	a.	How can cost be reduced or saved through implementing power factor improvement by 	adding a capacitor?														(10)

b.	Describe the voltage control and kVAr control used in automatic power factor 	controllers.																(10)