# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: OCEANIC ENERGY										 Time: 3 hours

# Subject Code: 12EE342				              					 	  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Discuss the various factors influencing the selection of site for utilization of tidal power.

2.	Describe briefly about single basin development with double-effect mode of operation.

(OR)

3.	Discuss the different numerical models referred for estuaries.

4.	Explain the major design criteria for sluiceway gates used in tidal power plants.

(OR)

5.	Briefly discuss various methods to enhance the raw tidal energy output.

6.	Explain how wave power is calculated with the help of necessary equations.

(OR)

7.	With the help of a neat schematic diagram, explain about the oscillating water column.

8.	Describe the different types of Turbines used for utilization of wave energy.

(OR)

9.	Discuss the environmental factors to be addressed for wave power plant projects.