Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION AND CONTROL IN PETROCHEMICAL 		       			   INDUSTRIES	       										       	      Time: 3 hours

Subject Code: 12EI236			       						             	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	____________ is used to heat the bottom liquid leaving the column.

2.	____________ is the most versatile instrument used for composition analysis.

3.	Which parameters are controlled in the majority of Continuous dryers?

4.	____________ is the most common type of batch reaction process.

5.	____________ valves in Heat Exchanger have opposite failure positions.

6.	Name some of the basic forms of Heat Exchange.

7.	What is Duhring Plot of Boiling Point rise?

8.	Give one application of Short-tube Vertical evaporator.

9.	____________ react quickly and efficiently to neutralize strong acids.

10.	What is meant by Precipitation?

PART – B (5 x 3 = 15 MARKS)

11.	Give the difference between Bubble point and Dew point in the Distillation column.

12.	Differentiate between Batch reactor and Continuous reactor.

13.	Draw the P&I diagram for temperature control of a Reboiler in the petrochemical industry.

14.	What are the different methods of controlling Absolute Pressure?

15.	Why is Neutralization control of waste water difficult?

PART – C (5 x 15 = 75 MARKS)

16.	a. 	Explain with a neat P&I diagram the Reboiler control by maintaining Boilup rate. 			(8)

b. 	How can one maintain the desired feed temperature in the distillation column using cascade 	control?                                                                                                           				(7)

(OR)

17.	Elucidate on the column pressure control in vacuum distillation with a neat diagram.

18.	Discuss in detail the operation of a Vacuum dryer and Batch fluid – bed dryer.

(OR)

19.	Describe the pressure control in a chemical reactor by throttling the flow of vent gas.

20.	Explain the various control loops by which the condenser control can be achieved.

(OR)

21.	Elucidate with a neat P&I diagram, the operation of a steam heater under feed forward control.

22.	Explain the common methods used to measure the product density in an evaporator control scheme.

(OR)

23.	a. 	Discuss briefly the concept of a multiple effect evaporator.                                      			(7)

b. 	Describe with a neat sketch the operation of a forced circulation evaporator.           			(8)

24.	Explain the control system employed in the chlorination of waste water for disinfection.

(OR)

25.	Elucidate on the effect of adding a reagent with high rangeability in the Neutralization process.