Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION AND CONTROL IN PAPER INDUSTRIES																				      	       Time: 3 hours

Subject Code: 12EI237		     						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	The material used in pulp production is __________.

2.	Name the byproducts of Kraft pulping.

3.	List the special gauges for measurement of basic weight.

4.	What are oxidation and reduction potentials?

5.	What is a Digester?

6.	The weight of tissue is ________.

7.	Comment on Drying.

8.	What is the need for pH measurement?

9.	Is consistency process in need? State Yes or No.

10.	Differentiate alarms and displays in a control room.

PART – B  (5 x 3 = 15 MARKS)

11.	Write a brief note on paper making process.

12.	Write a note on various graphic displays.

13.	Comment on Blow Tank Control.

14.	Explain the need for Consistency control.

15.	What is direct digital process?

PART – C  (5 x 15 = 75 MARKS)

16. 	Explain the various pulping processes with neat sketches.

(OR)

17.	Write a detailed note on various chemical recovery processes.

18.	Explain any one method to measure the following parameters:

a.	Level. 			b.	pH. 		c.	Pressure. 									(7+4+4)

(OR)

19.	With a necessary sketch, explain the various methods to measure Density in paper industries.

20.	Compare and explain the various Level Control Techniques in detail with neat flow diagrams.

(OR)

21. 	a.	Explain Digester Liquor feed pump control in paper making process.					(8)

b.	Give a detailed note on control operation on Basic weight. 							(7)

22. 	With a neat flow diagram explain white liquor density and flow control.

(OR)

23.	a.	Write a note on dissolving tank density control. 										(7)

b.	Explain the procedure for condensate conductivity control. 							(8)

24.	Give a brief note on applications of computers in a paper mill.

(OR)

25. 	a.	How can one control the pulping process using a computer? Explain. 					(8)

b.	Explain how to interface a computer to monitor liquid level control. 						(7)