Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: ULTRASONIC INSTRUMENTATION					       	       Time: 3 hours

Subject Code: 12EI239				       					              	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	A piezoelectric crystal generates a 2MHz signal. The wave associated with the signal is known as  a  _______ wave.

2.	An antenna transmits a 2MHz signal. The wave associated with the signal is known as a 	______ wave.

3. 	When a ______ material is subjected to a magnetic field _______ to its length, change in length occurs.

4. 	Some crystals experience slight deformation when voltage gradient is applied in a particular direction. This phenomenon is known as ________.

5.	Resolution of ultrasound is a function of ______ width and the beam _______.

6.	A Sensor under load conditions will resonate with some outside frequency. This frequency represents  its ________ frequency.

7.	Mass_______ unit volume at 4°C is known as _______ gravity.

8. 	The ________ of  hotness of a ________is known as temperature.

9. 	Whenever a ________wave moving in air hits a solid surface, the reflected sound is called  _______.

10. 	_______ represents the rate of growth of _______ under a cyclic loading.

PART – B (5 x 3 = 15 MARKS)

11.	What is meant by Ultrasound?

12. 	Give a note on the Villari effect.

13. 	Define Fatique.

14. 	Define Thickness.

15.	What is Specular holography?

PART – C (5 x 15 = 75 MARKS)

16.	Discuss in detail about the modes of sound wave propagation.

(OR)

17.	Explain about the properties of acoustic plane waves and wave propagation.

18.	Describe with a neat sketch the principle and working of an ultrasonic displacement transducer.

(OR)

19.	Bring out the principle of operation of a magnetostrictive type of ultrasonic generator.

20.	Bring out the working and construction of an ultrasonic level detector, its advantages and disadvantages.

(OR)

21.	Describe with a neat diagram, ultrasonic thermometer probe consisting of a thin wire sensor, a sound conductor and a transmitting –receiving transducer.

[P.T.O]

22.	With a neat diagram, bring out the principle of operation of ultrasonic vibration thickness gauge.

(OR)

23.	Write short notes on the following:

a.	Cold welding.		b.	Ultrasonic soldering.

24.	Discuss in detail about the use of ultrasound for the diagnosis of the spleen.

(OR)

25.	Write short notes on the following:

a.	Blood flow examination with ultrasound.		b.	Echocardiography.