Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: FIBER OPTICS AND LASER INSTRUMENTATION		       Time: 3 hours

Subject Code: 12EI247			       						                     Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define critical angle.

2.	What is the principle of total internal reflection?

3.	Why is an incandescent light not a good source for fiber optic communication?

4.	Fiber optic cables are composed of an inner core made of ____________.

5.	What are the different types of fiber optic sensors?

6.	LASER stands for ____________.

7.	Mention any one advantages of gas laser.

8.	Ruby LASER is an example for a three level LASER. True/False?

9.	An LED is a forward-biased p-n junction diode, emitting light through spontaneous emission. This phenomenon is referred to as ___________.

10.	Give two applications of LASER in industries.

PART – B (5 x 3 = 15 MARKS)

11. 	Why does multimode fiber suffer from intermodal dispersion?

12.	The speed of light in an unknown medium is measured to be 2 x 108 m/s.  What is the index of refraction of the medium?

13. 	What is meant by mode locking?

14. 	How is a giant pulse generated in LASER?

15. 	What is holography? Give any two applications of holography.

PART – C (5 x 15 = 75 MARKS)

16.	a.	How is a fiber optic cable classified based on its refractive index profile and give the 				difference between both the types.		                       							(10)

b.	Describe the advantages of fiber optic cable compared to other cables. 				(5)

(OR)

17.	With a neat diagram explain the construction and working of any one fiber optic source 	and one detector.

18.	a.	Discuss the need for using a fiber optic cable in sensing.		           				(5)

b.	What are the different types of fiber optic sensors? Explain them. 	    				(10)

(OR)

19.	Explain the method of measurement of

a.	Level.           												     					(8)

b.	Temperature using fiber optic sensors.	   										(7)

20.  a.	Explain the working of a three level and four level LASER.                     			(8)

b.	With a neat diagram explain the mechanical and optical shutters used in achieving giant 	pulses.                                                                                                 					(7)

[P.T.O]

(OR)

21.	Briefly explain the construction and operation of a solid laser and a gas laser.

22.	How is a Laser used for the measurement of:

a.	Distance 			b.	Velocity  			c.	Atmospheric pressure.

(OR)

23.	Explain in detail how metal processing is done using a Laser.

24.	How is recording and reconstruction done in holography? Discuss in detail.

(OR)

25.  Write notes on photo-thermal and photo-chemical applications of Laser.