# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: INSTRUMENTATION		                 						 Time: 3 hours

# Subject Code: 12EI303				         		      				 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Give the construction details of bonded and unbounded strain gauges. Explain any two

applications of bonded strain gauges.										(4+4)

b.	Explain the principle, characteristics and working of LVDT.					(8)

c.	With a neat sketch, explain the principle of operation of variable reluctance 					accelerometer.															(4)

2.	a.	State the principle and explain the working of a piezoelectric transducer.		(2+8)

b.	Name some materials used for it and explain about them.						(4)

c.	Also draw the equivalent circuit of piezoelectric transducer and mention its applications.																				(4+2)

(OR)

3.	Discuss the construction details, principle of operation and signal conditioning circuits of a

capacitive transducer used for differential pressure measurement.

4.	a.	Describe in detail the working of digital storage oscilloscope.					(15)

b.	Write a note on digital tachometer.											(5)

(OR)

5.	a.	Explain in detail about digital method of measurement of frequency.			(10)

b.	With the help of a diagram, explain the working of a digital multimeter.			(5)

c.	Explain the principle of digital time measurement.							(5)

6.	a.	With a neat diagram, explain the architecture of VI.							(10)

b.	Compare conventional programming with text based programming.			(10)

(OR)

7.	a.	Explain in detail the various components of DAQ.							(8)

b.	What are the three methods with which DAQ devices can be grounded?			(4)

c.	Write a short note on interfacing buses.										(8)

8.	a.	Write a note on general instrumentation system.								(6)

b.	List the differences between analogue and digital displays.					(4)

c.	Obtain the dynamic response of a sensor.									(10)

(OR)

9.	a.	Mention the static and dynamic characteristics.								(6)

b.	Differentiate accuracy and precision.										(2)

c.	Explain any 5 static and dynamic characteristics in detail.						(12)