# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: ADVANCED PROCESS CONTROL		         			 Time: 3 hours

# Subject Code: 12EI304								        		 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Define Servo and Regulator Control.						       				(5)

b.	Derive the first order Interacting and Non-Interacting systems with a neat sketch.																					(10)

c.	Draw the Piping and Instrumentation Diagram for a distillation column.	       		(5)

2.	a.	State in detail about integral wind-up and prevention.						       	(5)

b.	Define Control Valve Sizing.							       					(5)

c.	With a neat sketch, derive the equation for PI, PD, PID controllers.				(10)

(OR)

3.	a.	With a neat sketch, explain the types of control valves.				     		(10)

b.	Explain different types of control modes used in process industries.		     		(10)

4.	Discuss the tuning of controllers by process reaction curve method and damped oscillation

method.

(OR)

5.	With a neat sketch, explain:	 												(10+10)

a.	Ratio Control			b.	Split range control

6.	Derive the model equation for a binary distillation column.

(OR)

7.	Explain Decoupling control and Centralized controller.

8.	Give detailed notes on Internal Model Control with a neat sketch.

(OR)

9.	Discuss about Model Predictive control with a neat sketch.