# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: INDUSTRIAL COMMUNICATION SYSTEMS				 Time: 3 hours

# Subject Code: 12EI311				         		        			  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.  	With neat diagrams, explain the Universal Asynchronous Receiver/Transmitter UART, module with its characteristics and connection details.

(OR)

2.  	Give a detailed note on:

a.	Smart Instrumentation Systems.           										(8)

b.	Transmission characteristics.       											(8)

c.	High Speed UART.                       											(4)

3.  	In detail, explain the functioning, hardware requirements and protocols employed in Ethernet standard.  Also mention its communication characteristics with relevant figures.

(OR)

4.  	Give a broad outline on various parallel data communication interface standards employed for communication purpose. Tabulate their merits and demerits with necessary diagrams.

5.	a.	Discuss the various factors affecting signal propagation.                				(8)

b.	Elaborate on any 3 transmission media/cabling employed for communication purpose.

(12)

(OR)

6.  	In detail, explain and analyze the various attributes of electrical noise and state how shielding can be afforded.  Give required diagrams.

7.	Compulsory:

Elaborate on Modem – its components, its types, standards and troubleshooting features. Give relevant diagrams.

8.  	Give a detailed comment on PROFIBUS by stating its basics, architecture, communication 	model and its major highlights as an industrial protocol.  Give necessary diagrams.

(OR)

9.  	Write a descriptive essay on the following:

a.	HART Protocol.                                        									(15)

b.	Field Buses in Industrial Plants.                									(5)