Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: SPECIAL PURPOSE INSTRUMENTATION			       	       Time: 3 hours

Subject Code: 12EI336				         						       Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Discuss the types of centrifugation with a relevant diagram.						(10)

b.	What is a microtome?  Explain the features of different microtome types. Also discuss the 	profiles of microtome knives.													(10)

2.	a.	Draw the basic block diagram of an analytical instrument and explain the significance of 	each block.                                                                 								(8)

b.	Distinguish between the operation of single beam and double beam filter photometers with 	relevant schematic diagram.                                  									(12)

(OR)

3.	a.	Write the significance of Fourier Transform in infrared spectroscopy. Draw the block 	diagram of a typical Fourier Transform spectrometer and explain its features.		(10)

b.	Write the principle of atomic absorption spectroscopy.  Draw the block diagram of atomic absorption spectrometer and discuss the features of important components. Also describe the electronic system of absorption specimen with a relevant block diagram.			(10)

4.	a.	Explain the phenomena of spinning nucleus in a magnetic field. Also 
      		explain the constructional details of NMR spectrometer.							(12)

b.	Write the analogy between optical spectroscopy and mass spectrometry. Also write the 	applications of mass spectrophotometers.										(8)

(OR)

5.	Explain the working principles, construction and characteristics of Geiger –Muller counter and proportional counters.

6.	a.	List the benefits of automation in chemical analysis.  Also discuss the steps of automated 	biochemical analysis.															(8)

b.	Explain the various methods of CO analysis.										(12)

(OR)

7. 	a.	Draw the basic block diagram of a gas chromatograph and explain the significance of basic 	parts of a gas chromatograph.													(10)

b.	Explain the working principle and basic parts of a high pressure liquid chromatograph with 	a relevant block diagram.														(10)

8. 	a.	Write the principle of electrophoresis and also discuss the principle of various 	electrophoresis techniques.													(8)

b.	Explain the working principle of electron microscope with a relevant diagram and state its 	applications.																	(12)

(OR)

9.  	Explain the working principles and applications of:

a.	Light microscope																(10)

b.	Fluorescent microscope														(10)