# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: RESEARCH METHODOLOGY IN NANOTECHNOLOGY	   Time: 3 hours

# Subject Code: 12NT328					                 			   	   Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain how surface roughness of a sample can be determined using atomic force 	microscope.																(10)

b.	What is nano indentation? Explain how nano indentation is carried out using microscopic 	technique.																(10)

2.	a.	Discuss how literature survey is important for problem identification in research.	(10)

b.	Describe how data processing can be carried out using quantitative and qualitative approaches.																(10)

(OR)

3.	a.	Explain the methodology to be adopted for writing of abstracts and research papers.

(10)

b.	Give an account on 	i.	impact factor of journals	ii.	patents.				(10)

4.	a.	Explain how Binominal and Poisson distribution are used as quantitative tools in 	research.																	(10)

b.	Describe the method of least squares and successive approximation.			(10)

(OR)

5.	Discuss in detail about multiple variable matrix and its analysis.

6.	a.	Describe how energy dispersive x-ray spectroscopy is used to identify the chemical 	constituents in a sample.													(10)

b.	Explain Raman spectroscopy and describe how it is used to obtain phonon peaks.																				(10)

(OR)

7.	a.	What is nuclear magnetic resonance? Describe how nuclear magnetic resonance is used 	for chemical analysis.														(10)

b.	Discuss in detail about cyclic voltametry.									(10)

8.	Give in detail the instrumentation of thermo gravimetry, factors affecting thermo gravimetric analysis and applications of thermo gravimetric analysis.

(OR)

9.	Give the principle of x-ray diffraction method.  What is structure factor?  Describe the x-ray diffraction method used for molecular structure determination.