# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: THIN FILM TECHNOLOGY							 	  Time: 3 hours

# Subject Code: 12PH316						             			 	  Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the terms Adsorption, surface diffusion, adhesion and  nucleation.         	(10)

b.	Give an account on composition control and Surface morphology during growth process.

(10)

2. 	a.	Describe the construction and principle of working of Oil diffusion pump with a neat  		diagram.                                                                                              			(10)

b.	Explain how Pirani gauge is used in high vacuum measurement.                         	(10)

(OR)

3. 	a.	Discuss in detail of various evaporation sources with neat diagrams.                    (10)

b.	Describe the construction and working of capacitance diaphragm gauge and discuss its  	advantages and disadvantages.                                                             			(10)

4. 	a.	Discuss in detail the thin film coating process by Sol-gel method.                        	(10)

b.	Explain the preparation of thin film by pulsed plate technique and discuss the importance 	of duty cycle.                                                                                  				(10)

(OR)

5. 	a.	Give an account of various types of substrate materials and their characteristics. Also 	explain the method of cleaning of substrates.                                                 		(10)

b.	Describe the laser ablation method for preparation of thin films.                         	(10)

6. 	a.	Discuss in detail how particle size is determined by using Scherrer’s equation. 	(10)

b.	Describe the construction and working of UV-Vis-NIR spectrometer with a block 	diagram.                                                                                                        		(10)

(OR)

7. 	a.	What is photo luminescence? Explain how a PL study is carried out for a material.

(10)

b.	What is Hall Effect? Derive an expression for Hall coefficient and explain how type of 	charge carriers can be determined using Hall Effect experiment.         			(10)

8.	a.	Discuss in detail about the design and fabrication of thin film transistor.            	(10)

b.	Give an account on CdS and CIGS based solar cells.                                         	(10)

(OR)

9.	a.	Explain the principle and working of:

i.	gas detector 					ii.	magnetic sensor.           				(10)

b.	What are MEMS? Discuss the role of magnetic thin films in MEMS application.                                                                                             																				(10)