# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: RESEARCH METHODOLOGY						     	Time: 3 hours

# Subject Code: 12PH325					           					 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Discuss the production of X-rays using Coolidge tube.						(5)

b.	Obtain the Bragg’s equation to satisfy the X-ray diffraction.					(5)

c.	How will you analyze X-ray diffraction pattern graph to find the particle size, micro and 		macro strain on diffraction pattern with necessary equations?					(10)

2.	a.	Explain the construction and working of UV-Visible spectrophotometer with a block 			diagram.    																(10)

b.	 How will you distinguish the direct band gap or indirect band gap semiconductor thin 		films by using the absorption spectra?										(10)

(OR)

3.	a.	Explain the construction and working of any one of the spectro fluorometers.	(10)

b.	How will you measure/identify the fluorescence and phosphorescence nature of a 			specimen?	                    							 					     	(10)

4.	a.	Fit a parabola of the form y=a+bx+cx2 to the following data by the method of least 	squares.

X:	1		2		3		4		5		6

Y: 	3.13		3.76		6.94		12.62	20.86	31.53						(10)

b.	Fit a straight line to the data by the method of least squares.

X:	0		5		10		15		20

Y: 	7		10		15		21		25									(10)

(OR)

5.	a.	Fit the least square parabola y=a+bx+cx2 to the data f(–1) = –2, f(0) = 1, f(1) = 2, f(2)=4.    																			(10)

b.	Fit the least square straight line y=a+bx to the data f(0) = 6, f(1) =5, f(2) = 3, f(4) = 0,	f(5) = 3.																(10)

6.	a.	Solve x+3y+3z=16, x+4y+3z=18, x+3y+4z =19 by Gauss- Jordan method. 		(10)

b.	Evaluate dx1+xusing Simpson’s rule with h = 0.02.               					(10)

(OR)

7.	a.	Evaluate 12341x+y2dxdy taking h = k = 0.5 by Simpson’s rule. 				(10)

b.	Evaluate dxex2 using the three point Gaussian quadrature.					(10)

8.	a.	Write the algorithm, draw the flow chart and a simple C++ program to solve ax2+bx+c=0 	for 	all possible solutions ( real and equal, real and unequal, complex).			(10)

b.	Write the algorithm and C++ program to solve ax+by=L and cx+dy+M by matrix 	diagnolization method.	      												(10)

(OR)

9.	a.	How will you evaluate abfxdx by using Simpson’s rule with C++ program.	(10)

b.	How will you fit a straight line y=mx+c by using the principle of least square with C++ 		program?    																(10)