# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

# Subject Title: MATERIAL CHARACTERIZATION				     		Time: 3 hours

# Subject Code: 12PH326							          			Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Write a short note on:

a.	Bright field Optical microscopy.											(5)

b.	Fluorescence Microscopy.													(8)

c.	Scanning Tunneling Microscopy.											(7)

2.	Briefly explain the principle, instrumentation and applications of NMR.

(OR)

3.	Explain the principle, instrumentation and applications of:

a.	Secondary Ion Mass Spectrometry (SIM).			          					(10)

b.	Rutherford Backscattering Spectrometry (RBS).		          					(10)

4.	Explain the working, principle, instrumentation and application of:

a.	Transmission Electron Microscope.				        						(10)

b.	EDAX.							        									(10)

(OR)

5.	a.	How does light interact with matter? Explain.			            				(8)

b.	Explain the principle and applications of Electroluminescence.        			(12)

6.	a.	Define the term Thermogravimetry.											(2)

b.	Explain the role of TG curve in quantitative analysis.							(9)

c.	What are the factors that influence thermogravimetric results?					(9)

(OR)

7.	a.	Explain the principles involved in liquid chromatorgraphy.					(4)

b.	Discuss the role of Gas chromatography in the petrochemical industry. 		      	(16)

8.	a.	How will you measure the conductivity of a material using Four Probe Technique? 	Explain with instrumentation.			         							      	(10)

b.	Explain the measurement of Resistivity of a material using Hall probe Measurement.							        												       (10)

(OR)

9.	a.	How will you measure the mechanical strength of a material?         				(5)

b.	Explain the working principle, instrumentation and applications of	Vibrating Sample Magnetometer.				        										(15)