Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: GENERATION, TRANSMISSION AND DISTRIBUTION	       Time: 3 hours

Subject Code: EE253								       		    	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the main advantage of power generation using non conventional energy sources?

2.	What is meant by load capacity factor?

3.	What is the effect of proximity effect?

4.	Define medium lines.

5.	Define critical disruptive voltage.

6.	Define sag of a line.

7.	What is the function of sheath in cables?

8.	Why overhead line conductors are invariably stranded?

9.	What is a ring distributor?

10.	What is the usable voltage for secondary distribution?

PART – B  (5 x 3 = 15 MARKS)

11.	State the advantages of nuclear power plant.

12.	On what factor does the skin effect depend?

13.	Define string efficiency.

14.	Why the capacitance of the cable is very high than the capacitance of overhead lines?

15.	What are the advantages of a 3 wire DC distribution system over a 2 wire DC distribution system?

PART – C  (5 x 15 = 75 MARKS)

16. 	With a neat sketch explain the construction and operation of a Hydro power plant.

(OR)

17. 	What are the different methods available for power generation by non conventional energy sources? Describe briefly about any one method.

18. 	Derive the expression for capacitance and inductance for a single phase two wire transmission line.

(OR)

19. 	Derive the ABCD constants for a long line using nominal π method.

20. 	Explain briefly about the suspension type insulators with a neat diagram. Also explain the various methods to increase the string efficiency.

(OR)

21. 	a. 	Discuss shortly about Corona and the factors affecting Corona.						(8)

b. 	Write short notes on stringing chart.											(7)

22.	a. 	Describe the function of grading used in underground cables briefly. 				(8)

b.	 Compare Overhead lines and Underground cables. 								(7)

(OR)

23. 	Write short notes on:

a. 	Loss angle and breakdown voltage.												(8)

[P.T.O]

b. 	Types of underground cables.													(7)

24.	Explain about the following:

a.	Service mains.																(5)

b.   	Ring main system.						            								(5)

c.   	Calculation of voltage in distributors with distributed load.						(5)

(OR)

25.	Explain briefly about any three types of AC distribution.