Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: MEASUREMENTS AND INSTRUMENTATION		              Time: 3 hours

Subject Code: EE262				       						              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Distinguish accuracy and repeatability.

2.	The PMMC meter cannot be directly used for AC measurements because ______.

3.	A phase shifting transformer is used for ________.

4.	The error due to pressure coil inductance is compensated by ______.

5.	List out any two advantages of Kelvin’s double bridge.

6.	Give the relationship between bridge balance equation of a DC and an AC Bridge.

7.	What are active transducers?

8.	Define gauge factor.

9.	What are the advantages of an electronic voltmeter?

10.	Explain magnetic recorders.

PART – B (5 x 3 = 15 MARKS)

11.	Draw and explain the response curve of D’ Arsonal galvanometer.

12.	List out the difference between CT and PT.

13.	How will you measure inductance using bridges?

14.	Explain the working of capacitive transducers.

15.	List out the major requirements of recording.

PART – C (5 x 15 = 75 MARKS)

16.	a. 	Write a short note on Standards and their classification.							(8)

b. 	With a neat sketch explain PMMC instruments. 									(7)

(OR)

17.	Derive the torque equation of a moving iron instrument and explain the construction and working of an attraction type moving iron instrument.

18.	a. 	With a neat sketch explain the construction and working principle of a 	wattmeter. 	(8)

b. 	Explain any one type of maximum demand indicator. 								(7)

(OR)

19.	With a phasor diagram explain different types of power factor meters.

20.	a. 	Describe the measurement of low resistance using bridges. 						(7)

b. 	Explain the measurement of high resistance using bridges. 						(8)

(OR)

21.	a. 	With the procedure explain the earth resistance measurement. Also plot the output with 	respect to distance.															(8)

b. 	Discuss how inductance is measured using Maxwell’s bridge. 						(7)

[P.T.O]

22.	a. 	Explain the construction and working of LVDT. Also explain how magnitude and direction 	of displacement of core of LVDT is detected. 									(8)

b. 	Describe the Hall Effect and its application as a sensor. 							(7)

(OR)

23.	a. 	Write briefly on thermocouple and thermistor as temperature detectors. 				(8)

b. 	Explain piezo-electric effect and its application as sensors. 						(7)

24.	Discuss the construction and working of a Dual channel oscilloscope.

(OR)

25.	With a block diagram explain the following:

a.	Strip chart recorder.															(7)

b.	X-Y recorder 																(8)