Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: VIRTUAL INSTRUMENTATION						      	       Time: 3 hours

Subject Code: EE270								  		    	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	VI can be implemented using graphical and ____________ programming languages.

2.	The controls palette is specific to the ______________.

3.	______________ is used as the common debugging tool.

4.	What is autoindexing?

5.	An ADC requires a _______________ before actual conversion takes place.

6.	The ____________ loop is able to select the processor and assign priority.

7.	RS485 has a maximum of ____________ transmitters and receivers.

8.	VISA is a standardized ____________ permitting use of instruments under various hardware protocols.

9.	The power spectrum returns a ____________ that contains the two sided power spectrum of a time domain signal.

10.	If the signal spectrum is flat or broadband in frequency content, then we can use the _____________ window.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the advantages of graphical programming?

12.	Define a formula node.

13.	What is the need for counters and timers in VIs?

14.	Mention any three features of GPIB interfacing.

15.	Why do we need FFT and power spectrum?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Give a brief history of VI.														(5)

b.	With a necessary diagram explain the architecture of a virtual Instrument.			(10)

(OR)

17.	What are the differences between conventional and graphical programming?

18.	What are Sub- VIs and how are they created?

(OR)

19.	Differentiate between arrays and clusters with suitable examples.

20.	Explain the role of ADC and DAC for a Virtual Instrument.

(OR)

21.	Discuss about interrupts and DMA in virtual instrumentation.

22.	Enumerate the various stages of image acquisition and processing.

(OR)

23.	Explain with a required block diagram about VXI and PXI.

24.	Describe the various methods of windowing and filtering in VI.

(OR)

25.	With relevant diagrams explain the application of VI as a digital multimeter.