Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION AND CONTROL IN PETROCHEMICAL 					   INDUSTRIES											     	      Time: 3 hours

Subject Code: EI225			       						                    	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is the stripping section in a distillation column?

2.	In the inferential control of a distillation column, the secondary measurement used to infer the composition of the product is ____________.

3.	Name the types of chemical reactors.

4.	What are the three essential operating factors necessary for the drying operation?

5.	State one advantage of using cascade control in heat exchangers.

6.	The essential component required to implement by-pass control of steam heater is _______.

7.	Draw the flow sheet symbol of an evaporator.

8.	What is the prime advantage of using a multiple effect evaporator rather than a single effect evaporator?

9.	Which chemical is used in biological control of waste water treatment?

10.	Give the chemical reaction involved in precipitation.

PART – B  (5 x 3 = 15 MARKS)

11.	Determine the degrees of freedom of distillation column control.

12.	What are the different zones in the drying rate curve of solids? Explain them briefly.

13.	Briefly describe the function of a vaporizer.

14.	What are the three methods to control the absolute pressure in an evaporator?

15.	What are the essential parameters required for the proper design of a neutralizer in water treatment?

PART – C  (5 x 15 = 75 MARKS)

16.	a. 	Draw the schematic of the distillation equipment and explain the function of various units 	in it.																		(7)

b.	Describe a feed back control scheme for controlling distillation column pressure with 			a suitable diagram.															(8)

(OR)

17.	a. 	What are the variables that fix the distillation operation? Explain with a sketch.		(7)

b. 	Explain the inferential control scheme used for composition control of a distillation 				column.																		(8)

18.	What is cascade control? Develop cascade control for reactor temperature and explain. Also discuss its limitations.

(OR)

19.	With neat P and I diagrams explain the control of batch dryers.

20.	a. 	Calculate the degrees of freedom of steam heater and liquid to liquid heat exchanger.	(5)	b. 	Discuss about the temperature and pressure control in a condenser.					(10)

(OR)

[P.T.O]

21.	Discuss in detail about the feed forward optimization of a steam heater.

22.	a. 	Explain the operation of forced circulation evaporator with its schematic diagram.	(7)

b. 	Describe the selective control scheme of an evaporator implemented using valve position 	controller.																	(8)

(OR)

23.	Explain the various methods for measuring the product density in evaporators.

24.	Describe the chemical oxidation process in waste water treatment and explain any one control scheme employed for it.

(OR)

25.	a. 	Explain the control of precipitation process in a water treatment plant.				(7)

b. 	Draw the block diagram of acid water neutralization and explain.					(8)