Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: BIOMEDICAL INSTRUMENTATION					      	       Time: 3 hours

Subject Code: EI252								    		    	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Action potential is about ____________.

2.	The normal frequency of EMG is about ____________.

3.	____________ is the rate at which gas is exchanged with the blood stream.

4.	The principle of operation of the plethysmograph depends on ____________.

5.	During Myocardial Infarction, one can use ____________.

6.	In internal defibrillator the voltage range is ____________.

7.	The sectional ultrasonic images are known as ____________.

8.	The normal pH of the blood is ____________.

9.	On what factor does the choice of detector depend on liquid chromatography? Mention any two.

10.	Computer tomography image is ____________.

PART – B  (5 x 3 = 15 MARKS)

11.	Define neurons and nerve fibers.

12.	Mention the different transducers used for bio acquisition.

13.	What is diathermy? List its types.

14.	List the types of waveforms used in stimulators.

15.	Define chromatography. What are the types of gas chromatography?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the central nervous system in detail.

(OR)

17.	Write short notes on:

a.	Respiratory system.			b.	Phonocardiography.							(7+8)

18.	What are the methods used for the measurement of cardiac output?  Explain Fick’s method in detail.

(OR)

19.	Explain about pulse oximetry and audiometer.

20.	a.	What are Hemodialysis and peritoneal dialysis?									(5)

b.	Describe any one of the above in a detailed manner along with its merits and demerits.(10)

(OR)

21.	a.	Explain with a suitable diagram about the working of a Heat – Lung Machine.		(12)

b.	Classify the cardiac pacemaker.												(3)

22.	Draw a block diagram of an MRI system and explain the image reconstruction using it.

(OR)

23.	 Illustrate with a neat diagram the working of an X-ray machine.

24.	Describe in detail about gas chromatography.

(OR)

25.	Discuss in detail about flame photometer.