Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INDUSTRIAL INSTRUMENTATION						       Time: 3 hours

Subject Code: EI256			       						             		       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What are the different types of electrical pressure transducers?

2.	Which elastic type pressure gauge is suitable for pressure above 6 MPa?

a.	Bourdon tubes.		b.	Bellow elements.			c.	Diaphragms.

3.	Variable head flow meters operate on the ___________ theorem.

4.	Name any one positive displacement flow meter.

5.	Write the relation between T, P and V.

6.	Define ‘Thermocouple’.

7.	List any two float types for level measurement and control.

8.	Draw the basic schematic diagram of displacer type level indicator

9.	Define the term: HART.

10.	Enumerate the parts of the virtual instrumentation systems.

PART – B (5 x 3 = 15 MARKS)

11.	What is a differential pressure transmitter? Draw the schematic arrangement of a flapper-nozzle system.

12.	Give a short note on ultrasonic flow meter.

13.	Distinguish between filled-system thermometers and bimetallic thermometers.

14.	Describe any one of the electrical level measurement method with a diagram.

15.	Write short notes on PC based DAS for instrumentation and control.

PART – C (5 x 15 = 75 MARKS)

16.	What are the different types of vacuum gauges? Explain any two with neat diagrams.

(OR)

17.	Briefly explain dead weight tester with a suitable diagram.

18.	Describe the working principle, construction and operation of Cariolis mass flow meter with a neat sketch.

(OR)

19.	List the different types of inferential flow meters. Briefly explain any one of them.

20.	Give short notes for the following:

a.	Law of thermocouple.			b.	Cold junction compensation.		c.	Thermistors.

(OR)

21.	With a neat sketch, describe the working principle of an optical pyrometer.

22.	Discuss the hydro-step for boiler drum level measurement.

(OR)

23.	Explain diaphragm box type level gauging with a neat sketch.

24.	Explain the features of smart and intelligent transmitters.

(OR)

25.	Define virtual instrumentation. Explain the parts of the system in detail.