Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: ELECTRONIC INSTRUMENTATION					      	      Time: 3 hours

Subject Code: EI261								       	  		       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the use of negative feedback in electronic voltmeters which use rectifiers?

2.  	The RF spectrum analysis covers a frequency range of _____________.

3. 	The bandwidth of a CRO is from 0 – 20MHz. The fastest rise time a sine wave can have to be     accurately reproduced by the instrument is ____________.

4. 	In an oscilloscope, what will happen if the frequency of the unknown signal is lower than that       of the sweep signal?

5. 	In a digital frequency meter, the multi period average mode of operation, the main gate is held open for more than one period of the unknown signal. Thereby an increased accuracy is obtained. Is it TRUE or FALSE?

6. 	A successive approximation A/D converter has a resolution of 20 mV. What will be its digital      output for an analog input of 2.17 V?

7. 	More Fringes are used for measurement of rotary displacement along with ___________.

8. 	What is the resolution of an 8-bit shaft encoder?

9. 	List the any one advantage of F.M. magnetic tape recorder.

10. 	What is the resolution of a 312digital display?

PART – B  (5 x 3 = 15 MARKS)

11. 	Draw the block diagram of vector impedance meter.

12. 	List out the main parts of a CRT.

13. 	How are digital voltmeters classified?

14. 	Draw the block diagram for a digital capacitance meter.

15. 	Describe the advantages of LEDs.

PART – C  (5 x 15 = 75 MARKS)

16. 	Draw the block diagram of a fundamental suppression harmonic distortion analyzer and explain its working principle.

(OR)

17. 	Explain the different methods of frequency synthesis with necessary diagrams.

18. 	Draw the internal structure of a CRT and explain the operation of oscilloscope amplifiers.

(OR)

19. 	Explain in detail about dual trace oscilloscopes and sampling oscilloscopes.

20. 	Draw the functional block diagram of a dual slope ADC and explain its working principle of signal conversion.

(OR)

21. Draw the basic Q - meter circuit. Explain the measurement of low impedance in series 	connection method.

[P.T.O]

22. 	Explain the working principle of a digital frequency meter with a neat sketch.

(OR)

23. 	Describe in detail about the contact type of encoders and explain why gray code is used in them.

24. 	Explain the working of an ultra-violet recorder with a neat sketch. Describe its applications.

(OR)

25. 	Discuss the theory and working of an LCD. Describe the advantages and disadvantages of 	LCDs.