Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION AND CONTROL SYSTEMS	             	       Time: 3 hours

Subject Code: ME256								       		    	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the need of precision?

2.	Define calibration.

3.	State the working principle of a thermocouple.

4.	Name any two materials used in resistance wire strain gauges.

5.	What is rosette?

6.	An Absorption hydrometer is used to measure _____________.

7.	What is transfer function?

8.	What is block diagram control system?

9.	What is time response?

10.	Write the Nyquist stability criterion.

PART – B  (5 x 3 = 15 MARKS)

11.	What are instrumental errors? How can they be avoided?

12.	Mention the applications of a pyrometer.

13.	Define the terms absolute humidity, relative humidity and dew point.

14.	What is flow graph algebra?

15.	Explain about peak time.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the concept of a general measurement system.

(OR)

17.	Discuss accuracy and precision with respect to electrical measurements. What are the different ways by which accuracy can be specified?

18.	Explain the following with a neat sketch:

a.	Hot wire anemometer		b.	Ultrasonic flow meter

(OR)

19.	Describe the working principle of a thermocouple.

20.	What is meant by viscosity? How can one measure viscosity through an efflux viscometer?

(OR)

21.	What are the various types of strain gauges?  Explain the application of strain gauge in torque measurement.

22.	Draw the block diagrams of open-loop and closed loop control systems and explain briefly.  Compare the performance of both the systems.

(OR)

23.	Explain Servomechanism with a neat diagram.

[P.T.O]

24.	Simplify the block diagram shown in the following figure. Then, obtain the closed-loop transfer function C(s)/R(s).

(OR)

25.	Explain about the Routh’s stability criterion.