Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14BI2002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INSTRUMENTAL METHODS OF ANALYSIS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Illustrate the types of buffers and its importance in extraction of biomolecules. Infer the characteristics of goods buffer. | CO2 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Summarize the electrodes in pH meter and the working principle of pH meter with a neat diagram. | CO2 | 17 |
|  | b. | State applications of pH meter. | CO2 | 3 |
| 3. |  | Define Beers Lambert’s law. Outline the working procedure and instrumentation of spectrophotometer with a neat diagram. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Elaborate the instrumentation and working principle of Flame photometer. | CO1 | 20 |
| 5. |  | Give a detailed account on purification and quantification of secondary metabolites using HPLC with a neat diagram. | CO1 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Define electrophoresis. | CO1 | 3 |
|  | b. | Illustrate the instrumentation of SDS PAGE with a neat diagram. | CO1 | 17 |
| 7. |  | Examine the principle and instrumentation of Geiger Muller Counter in detection of radioactive isotope molecules. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Elaborate on radioactive decay and detection of radioactive isotopes using Scintillation counter with a neat diagram. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Infer the various detectors used in gas chromatography and outline principle and instrumentation of GC with regard to analysis of samples. | CO3 | 20 |