Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14BI2002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INSTRUMENTAL METHODS OF ANALYSIS | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Recall in detail the buffer, its types and importance in extraction of biomolecules. | CO2 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Organize the principle and working of pH meter with a neat diagram. | CO2 | 12 |
|  | b. | Derive the Henderson hasselbalch equation. | CO2 | 8 |
| 3. |  | Discuss the principle and instrumentation of spectrophotometer with a neat diagram and state its applications. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Classify in detail the principle, instrumentation and applications of IR and Raman spectroscopy. | CO1 | 20 |
| 5. |  | Give a detailed account on separation and purification of metabolites using HPLC with a neat diagram. | CO1 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Summarize the instrumentation and working protocol of Agarose gel electrophoresis with emphasis on DNA characterization. | CO1 | 20 |
| 7. |  | Infer the principle and instrumentation of Geiger Muller Counter in detection of radioactive isotope molecules. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Inspect the radioactive decay and detection of radioactive isotopes using Scintillation counter. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Infer the various detectors used in gas chromatography and outline principle and instrumentation of GC with regard to analysis of samples. | CO3 | 20 |