Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14CE1001 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BASIC CIVIL ENGINEERING | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | A series of offsets were taken from a chain line to a curved boundary line at a regular interval of 10 metres. The length of the offsets are 4.2m , 3.4 m, 3.8 m, 2.8 m, 1.6 m, 4 m,3.9 m, 3.1 m, and 5.8 m. Find the area of strip between chain line and boundary line by Trapezoidal Rule and Simpson’s Rule. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the functions of Civil Engineer. | CO1 | 10 |
|  | b. | What are the basic principles of surveying? Distinguish between plain and geodetic surveying. | CO1 | 10 |
| 3. |  | A building with plinth area of 100m2 was constructed over a plot area of 200 m2, 10 years ago. Plinth area rate at the time of construction was Rs. 900 per m2. Find the depreciated value of the building, taking the life of the building as 50 years. | CO3 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Summarize the different types of bonds used in stone masonry | CO2 | 20 |
| 5. |  | Describe about the sewerage system, collection and disposal of solid wastes. | CO3 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Compare between slow sand filter and rapid sand filter. | CO3 | 20 |
| 7. |  | Draw the general layout of the airport and explain its components. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | List out the necessity of bridges and classify them. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | List out the purpose and selection of site for a dam. | CO1 | 10 |
|  | b. | Describe the types and functions of cross drainage works | CO3 | 10 |