Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14CE2008 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # WATER AND WASTE WATER ENGINEERING | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | The population of a city at previous consecutive census years was 400000, 558500, 776000, 1098500. The anticipated population at the next census to the nearest 5000 would be…… | CO1 | 5 |
|  | b. | Find the demand in lpcd for a town with a population one lakh assuming that on an average one fire accident occur per month which lasts for 4 hours. Use national board of fire under writers formula. | CO1 | 5 |
|  | c. | List out and explain the factors affecting the rate of demand. | CO2 | 5 |
|  | d. | Recall the variations in demand and importance of design period for water supply project. | CO2 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the causes of water borne diseases and their control by treatment. | CO2 | 5 |
|  | b. | Enumerate the Drinking water characteristics. | CO1 | 15 |
| 3. | a. | Sketch the layout of water treatment plant and explain the process briefly. | CO1 | 10 |
|  | b. | Outline different types of sedimentations and design parameters of sedimentation tank. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Summerise commonly used coagulants with their reactions. | CO1 | 10 |
|  | b. | Write the procedure to find the optimum coagulant dosage with jar test. | CO2 | 5 |
|  | c. | Explain the units used for the sedimentation aided with coagulation. | CO1 | 5 |
| 5. | a. | What is filtration? Explain about theory of filtration. | CO1 | 5 |
|  | b. | Sketch slow sand filter and its components with explanation. | CO2 | 15 |
| (OR) |  |  |  |  |
| 6. | a. | Define chlorination? State the actions of chlorine and different types of chlorination. | CO2 | 10 |
|  | b. | Draw the Break point chlorination and its importance. | CO1 | 7 |
|  | c. | Write about chloroamines with their reactions. | CO2 | 3 |
| 7. | a. | Illustrate the different components of distribution system. | CO3 | 4 |
|  | b. | Explain the systems used for distribution of water supply. | CO3 | 6 |
|  | c. | List out layouts of distribution systems with neat sketches. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Classify the different types of sewers. | CO3 | 5 |
|  | b. | A town with an area 1 km2 with a population density 1000 no/ha supplied water at a rate of 200 lpcd out of which 80% reach sewer as a sewage. The town receives an average rainfall of intensity 1.2 cm in 24 hrs all of which are runoff. Estimate DWF and WWF resulting from the community. | CO1 | 8 |
|  | c. | Explain the various sewage systems in practices. | CO3 | 7 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss classification of wastewater treatment processes. | CO2 | 5 |
|  | b. | Explain principle of activated sludge with a neat diagram. | CO1 | 5 |
|  | c. | Elaborate various types of water demand and their percentage. | CO2 | 5 |
|  | d. | Recall different types of water sources for the drinking purpose. | CO1 | 5 |