Reg.No. ____________

End Semester Examination – Apr/May – 2018

| Code : 14CE2031 |  | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : CONCRETE TECHNOLOGY |  | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Give the Bogue's Compound for Cement. Explain their role in hydration process. | CO1 | 4 |
|  | b. | Explain the manufacturing of cement by wet and dry process. | CO1 | 16 |
| (OR) |  |  |  |  |
| 2. | a. | List the various tests conducted on aggregates. | CO1 | 5 |
|  | b. | Differentiate on River and M sand. | CO1 | 5 |
|  | c. | Explain any two methods for finding the abrasion value of coarse aggregate. | CO1 | 10 |
| 3. | a. | Discuss the effects of adding fly ash, silica fumes and ground granulated blast furnace slag in concrete. | CO1 | 10 |
|  | b. | Compare the inference of Slump cone and Compacting factor test. | CO1 | 5 |
|  | c. | Write the sequential step to mix concrete. Explain the mixing, transporting, placing and compaction operations of concrete in a work site. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Write short notes on mineral admixtures with examples. | CO2 | 10 |
|  | b. | Enumerate on the factors affecting the choice of mix proportions. | CO3 | 10 |
| 5. | a. | Write short notes on the following tests. i) Split Tensile test ii) Modulus of Elasticity test. | CO2 | 10 |
|  | b. | Explain in detail the permeability and the factors affecting the permeability of concrete. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Define durability of concrete. Discuss the various factors affecting durability of concrete. | CO2 | 10 |
|  | b. | Write short notes on i) Bleeding ii) Shrinkage of concrete. | CO2 | 10 |
| 7. |  | Write short notes on i) Light weight concrete ii) Recycled aggregate concrete iii)Pumped concrete iv) Reactive powder concrete. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | List the advantages of using ready mixed concrete instead of site mixed concrete. | CO2 | 10 |
|  | b. | Discuss aerated concrete and ferrocement. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Design a concrete mix as per IS with the following data: Characteristic compressive strength 30 N/mm2 Maximum size of coarse aggregate…………………….. 20mm Degree of workability……………………………100 mm(slump value) Degree of control………………………………………. Good Type of exposure……………………………………… Severe Specific gravity of cement…………………………….. 3.15 Specific gravity of coarse aggregate………………….. 2.60 Specific gravity of fine aggregate……………………. 2.60 Water absorption – Coarse aggregate…………………. 0.5% Water absorption – Fine aggregate……………………. 1.0% Free surface moisture – fine aggregate………………… 0% Entrapped air…………………………………………… 0% Fine aggregate grading………………………………….. Zone III Assuming suitable datas wherever necessary calculate the quantity of materials required to cast slab of area 10,000sft and 4 ½” thick | CO3 | 15 |
|  | b. | Write the factors that influences mix design of concrete | CO3 | 5 |