Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14CE2033 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BUILDING SERVICES | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain different types of building services? | CO1 | 6 |
|  | b. | Distinguish i) sewerage and sewage ii) Sludge and sullage. | CO1 | 8 |
|  | c. | Explain the different types of sewage treatment given for waste water? | CO1 | 6 |
| (OR) |  |  |  |  |
| 2. | a. | Interpret and explain the need for rain water harvesting? | CO3 | 7 |
|  | b. | Explain the variouscollection and conveyance system of sanitation. | CO3 | 7 |
|  | c. | Discuss on the requirements of a good water distribution system? | CO1 | 6 |
| 3. | a. | Explain the term: i) fuse ii)earthing. | CO1 | 4 |
|  | b. | Enumerate on transformers and switch gears. | CO3 | 8 |
|  | c. | Sketch a layout of a typical wiring system in houses and explain how electrical installations are planned? | CO3 | 8 |
| (OR) |  |  |  |  |
| 4. | a. | Define ventilation and discuss on its importance? | CO2 | 6 |
|  | b. | Describe different types of ventilation with sketches? | CO2 | 7 |
|  | c. | Sketch and explain the working of the window air-conditioner? | CO2 | 7 |
| 5. |  | Classify different types of air conditioning systems with neat sketch? | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Write notes on heat and smoke detectors? | CO3 | 10 |
|  | b. | Give an account on fire resisting materials and its characteristics? | CO3 | 10 |
| 7. | a. | Write about the different features adopted in buildings to make it intelligent? | CO1 | 10 |
|  | b. | Enumerate on building automation system in detail? | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the applications of smart materials in buildings? | CO3 | 10 |
|  | b. | Write notes on i) Security systems ii) Health monitoring systems? | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the energy efficiency in green buildings? | CO3 | 12 |
|  | b. | Discuss on green building concept and various features of green buildings? | CO3 | 8 |