Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14CE2038 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INDUSTRIAL WASTE TREATMENT AND DISPOSAL | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Elaborate about waste minimization techniques adopted in industries. | CO2 | 10 |
|  | b. | Explain the working principle of a sedimentation tank with a help of a diagram. | CO2 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Label and explain the components of a trickling filter. | CO2 | 10 |
|  | b. | Explain about ASP. | CO3 | 10 |
| 3. | a. | Compose the methods available for industrial waste strength reduction. | CO2 | 10 |
|  | b. | Propose the methods available for waste water reuse applications. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss in detail about flow equalization as a pre-treatment method. | CO2 | 10 |
|  | b. | Identify the causes and effects of Industrial noise pollution. | CO2 | 10 |
| 5. | a. | List and explain the types of Industrial pollution. | CO2 | 10 |
|  | b. | Classify and explain filtration. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Compose in detail about ETP of a Textile industry. | CO2 | 10 |
|  | b. | List and explain the common pollutants found in Fertilizer Industries and its treatment methods. | CO1 | 10 |
| 7. | a. | List and explain the mixing methods available for equalization. | CO3 | 10 |
|  | b. | Explain the methods available to treat industrial water pollution. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Label and explain the pollutants found in Thermal power plants and its treatment methods. | CO2 | 10 |
|  | b. | List the application of chemical precipitation in wastewater treatment. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Summarize in detail about the sludge treatment and disposal. | CO2 | 10 |
|  | b. | Explain different components of a common ETP. | CO2 | 10 |