Reg.No. ____________

End Semester Examination – Apr/May – 2018

| # Code : | # 14CE2038 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INDUSTRIAL WASTE TREATMENT AND DISPOSAL | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What is radioactive pollution? Explain its causes and effects. | CO1 | 8 |
|  | b. | Demonstrate the working principle of a trickling filter with an aid of a diagram. | CO3 | 12 |
| (OR) |  |  |  |  |
| 2. | a. | List the advantages of flow equalization. | CO2 | 10 |
|  | b. | Demonstrate the effluents characteristics of a typical textile industry. | CO2 | 10 |
| 3. | a. | Propose the methods available for waste water reuse applications. | CO2 | 10 |
|  | b. | Classify trickling filter based on waste water parameter, carrying materials, wastewater recirculation, biological process, and technological stages. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Elaborate pollution control and waste minimization in fertilizer industries. | CO2 | 10 |
|  | b. | Summarise the environmental legislation in India. | CO2 | 10 |
| 5. | a. | Explain the sludge thickening in detail. | CO1 | 10 |
|  | b. | Label and explain the actions involved in self-purification of streams. | CO3 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Recall the pollutants present in a sugar and distilleries and explain its treatment methods. | CO1 | 12 |
|  | b. | Demonstrate oxygen sag analysis with aid of a graph. | CO1 | 8 |
| 7. | a. | Explain environmental protection act 1986. | CO1 | 10 |
|  | b. | Identify the causes and effects of water pollution. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | List and explain the factors influencing adsorption. | CO1 | 10 |
|  | b. | Compare coagulation with flocculation. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Demonstrate the working principle of ASP with neat flow diagram. | CO3 | 12 |
|  | b. | Discuss in detail about “Tailor made wastewater treatment process”. | CO2 | 8 |