Reg.No. ____________

End Semester Examination – April/May – 2018

| # Code : | # 14CE3025 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ENERGY EFFICIENT BUILDING | # Max. marks : | # 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Compose the importance of Energy Efficiency Initiatives in India | CO1 | 11 |
|  | b. | Appraise the evidential requirements of BREEAM | CO2 | 9 |
| (OR) |  |  |  |  |
| 2. | a. | Evaluate common sources of indoor air contaminants. | CO1 | 13 |
|  | b. | Formulate the operation of wind system and wind deflectors in building. | CO2 | 7 |
| 3. | a. | Briefly explain about Sustainable landscaping. | CO1 | 10 |
|  | b. | Express the benefits of certification – WHY LEED in India? | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Outline and Illustrate a detailed flow chart of IDP. | CO1 | 12 |
|  | b. | Organize the importance of Retro-commissioning. | CO2 | 8 |
| 5. | a. | Briefly write about energy efficiency measures for buildings. | CO1 | 10 |
|  | b. | Propose the elements of Green Globe rating system. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Compose in detail about energy-dependent activities and the energy supply chain. | CO1 | 13 |
|  | b. | Construct the thumb rule for daylighting buildings. | CO2 | 7 |
| 7. | a. | Criticize the sustainable design principles help reduce impacts on natural resources and ecosystems. Mention some key examples. | CO1 | 11 |
|  | b. | Prioritize the certification methods for Green Rating for Integrated Habitat Assessment. | CO2 | 9 |
| (OR) |  |  |  |  |
| 8. | a. | Give an examples of environmental impacts of buildings and elaborate in detail. | CO1 | 10 |
|  | b. | Interpret the construction process of reducing the carbon footprint. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Demonstrate the building envelopes design guidelines. | CO1 | 12 |
|  | b. | Extend the Energy efficiency technologies and its benefits. | CO2 | 8 |